Thermal jacket                                                                                                 sales@metersuk.co.uk

Thermal Jacket

Protect your water meters during the cold winter months with Meters UKs Thermal jacket. Hot water meters also require that heating is regulated and the thermal jackets can also jackets can also keep temperatures constant, especially if exposed to extreme temperatures. The thermal jacket gives easy access for manual reading of the meter

Material

Polyethylene (PE) Poly Cloth 400g/m³

Inner Fill:

25mm thick cellular insulation value w/m²K

Fixings and Fastenings:

Velcro hook & loop flaps with draw cord.

Temperature Range: - 40°C to 110°C

Sizes

Multi-jet flow water meters: 15mm to 50mm

Turbine flow meters:

Diagrams

Fully Open:                                                                                   Fully closed:

sales@metersuk.co.uk  Whitegate, White Lund Industrial Estate, Morecambe LA3 3BT  01524 555929